## Slide 1
REPUBLIQUE ALGERIENNE DEMOCRATIQUE ET POPULAIRE MINISTERE DE L’ENSEIGNEMENT SUPERIEUR
UNIVERSITÉ ABOU BEKR BELKAID
Faculté de Technologie Département de génie mécanique
Licence 2: Energie Renouvelable
Thème
Management de l’énergie
Chargé de module:
Mme: SI CHAIB AMEL

## Slide 2: BUILDING LIGHTING
Introduction;
Sources and forms of energy;
Energy management;
Integration of energy saving measures.
Monitoring the system.

## Slide 3: Introduction:
In a livestock house, effective lighting ensures good working conditions and safety for farmers and workers. It is also necessary for the well-being of animals and the expression of their natural behaviour. The lighting also allows animals to be unstressed, which facilitates their collective and individual care and driving. It therefore contributes to the technical results of the herd.

## Slide 4: Natural lighting in the building:
Animal living area: Natural light is necessary but variable according to the seasons. In winter, the sun’s rays will warm up the animals, dry out the litter and promote the assimilation of vitamin D. But in summer, direct sunlight will contribute to greatly increase the temperature felt by the animals, can cause significant stress in high temperatures.

## Slide 5
The installation of translucent roofing plates on sun-exposed sides should be prohibited. If necessary, a pose on the north and north-east skids will be preferred. The pose must be done in checkerboard and especially not in line. The reduction in brightness on the roof can be compensated by installing side lighting strips, on long-slats or gables, while remaining vigilant west side. In order not to disturb the animals, very sensitive to variations of light, a horizontal bandage is preferable. The classic ridge is preferable to the lighting dome that amplifies the greenhouse effect. However, a small (80 cm) and ventilated dome is an option when the roof is completely opaque (sandwich insulation panels for example) and the building is wide.

## Slide 6
Milking: To limit the radiation of the roof of the waiting area, it is not advisable to lay translucent sheets in the roof, especially south or west sides. Roof insulation, even if it is an option, provides interesting thermal comfort. In the milking parlour, side sliding or swing windows ventilate above platform level. Be careful, however, to place them above the head of cattle so as not to dazzle them. A skylight can be installed at the milking pit or in areas of human traffic. Light is transmitted from the outside to the ceiling diffuser with a reflective conduit. A skylight can easily reproduce an intensity of a hundred lux at 2 m under the diffuser even in cloudy weather. This system can be costly if it is necessary to modify the frame.

## Slide 7: Artificial lighting
The luminaires must be installed in such a way as to ensure that the level and distribution of lighting is appropriate for the intended purpose, without causing glare (animals and people), knowing that the vision of animals is very different from that of humans (see box).
Fluorescent tubes or LED lighting: Artificial lighting can be done with high-efficiency fluorescent tubes or LEDs. LEDs emit a blue-enriched light that corresponds to the emission of a greater proportion of radiation at short wavelengths (from 350 to 500 nanometers approximately). This light spectrum is very suitable for the vision of cattle (see box). However, for humans, blue light has physiological effects that, at high luminance levels, can cause damage to the retina. In order to limit the risk of eye damage, it is recommended to use GR0 or GR1 LED or LED luminaires according to EN 62471.

## Slide 8
LED lighting makes it possible to vary the light intensity, for example in the context of light programmes or natural complementary lighting, while guaranteeing significant energy savings (from 80% to 90%). The installation of LED tubes is a higher investment than neon, but has a much longer life (about 5 times more). To avoid overconsumption, several lighting circuits can be installed: for example for living areas, a circuit for sleeping areas, and a 2nd more powerful in the circulation and feeding zones.

## Slide 9
Illumination and vision in cattle (Berger, 2016): The retina of cattle allows them to have effective night vision but requires five times more time than humans to adapt to darkness. This explains their strong visual sensitivity that leads to phenomena of glare and effects of shadows related to reflections (bright squares on the ground, reflection of glass or stainless steel...). This phenomenon is observed, for example, in containment corridors illuminated by windows. These reflections are experienced as obstacles to be crossed by the animals and slow down or stop their march. It is therefore necessary to propose a uniform lighting without reflections to avoid the fear of animals, knowing that they move more easily towards the best lit place, without glare.

## Slide 10
Cattle see mostly blue waves and very little in the red spectrum. Their colour vision can therefore be compared to red-green color blindness in humans. The choice of light source must take this into account. Unlike predators, whose eyes are positioned at the front of the face, those of “prey” animals, such as cattle originally, are on the side. Cattle therefore have a more panoramic field of vision which explains their difficult perception of distances or reliefs with very limited binocular vision (see diagram). In addition, the cows see only closely and especially for grazing. However, they perceive movement more than humans. They recognize 40 to 60 images per second, compared to 25 for humans. Sudden movements, shaking of arms, or moving objects attract the attention of the cattle and easily frighten them. Therefore, they must be avoided.

## Slide 11
The areas to be well-lit in priority at the place of trafficking:
• The working area around the udder,
• Milking bundles and milk meters,
• The reading areas of the identification loops,
• Stairs.
Do not forget about the maintenance of the luminaires: The periodic maintenance of the lighting installation (cleaning outside and inside if necessary, change of defective lamps), is necessary to maintain its full effectiveness:
• Generally at least once a year
• At least every 6 months for dusty locations.

## Slide 12
Energy is the ability of a system to produce work, causing movement or producing for example light, heat or electricity.

## Slide 13: 1. Sources and forms of energy:
1.1 The sources:
Definition:
An energy source is a physical or chemical phenomenon in which energy can be used for industrial purposes.
A source of energy is called “primary” if it comes from a natural phenomenon and has not been transformed; it is called “secondary” if it is the result of a voluntary transformation. It can also be described as “renewable” if its reserves are not significantly depleted in the time scale of its exploitation. Some sources are also referred to as “clean energy” in the ecological context.

## Slide 14
1.1.1 Fossil fuels:
Fossil energy refers to the energy produced from rocks resulting from the fossilization of living beings: oil, natural gas and coal. They are present in quantity (Quantity is a generic term of metrology (count, amount); a scalar, vector, number of objects or some other way to denote the value of a collection or form of heat ). causes gases (A gas is a set of atoms or molecules very weakly linked and almost independent. In the gaseous state, matter has no form...) greenhouse (The greenhouse effect is a natural process that for absorption.

## Slide 15
These are oil, coal and natural gas. These sources of energy are not renewable because they take millions of years to build up and because they are used much faster than the time needed to recreate reserves. Methanisation (or anaerobic digestion) is the natural biological process of degradation of organic matter in the absence of oxygen.

## Slide 16
1.1.2 Nuclear energy:
Nuclear energy is produced by the nuclei of atoms that undergo transformations, these are nuclear reactions. Radioactivity is a natural physical phenomenon in which unstable atomic nuclei spontaneously transform (“decay”) into more stable atomic nuclei converting part of their mass into energy, according to the famous formula E=mc2 after Albert Einstein.

## Slide 17
1.1.3. Renewable energy:
Renewable energy (RE) is a source of energy that is fast enough to be considered inexhaustible at the human time scale. The renewable energies are derived from regular or constant natural phenomena caused by the stars, mainly the Sun (Sol in Latin, Helios or Ήλιος in Greek) is the central star of the solar system. In the astronomical classification, it is a star of...) (radiation), but also the Moon average distance separating the Earth from the...) (tide) and the Earth (Earth is the third planet in the Solar System by increasing distance from the Sun, and the fourth by size and growing mass. It is the largest and most massive of the four planets...) (geothermal energy).

## Slide 18
1.2 The forms of energy:
1.2.1. Mechanical power:
Mechanical energy is a quantity used in classical mechanics to designate the energy of a system stored as kinetic energy and potential mechanical energy.
mechanical energy takes two forms: kinetic if the bodies are in motion (water falling from a dam) potential if energy is in reserve (water stored behind a dam)

## Slide 19
1.2.2. Thermal or calorific energy:
Thermal energy is the kinetic energy of microscopic agitation of an object, which is due to a disorderly agitation of its molecules and atoms. Thermal energy is a part of the internal energy of a body. Thermal energy transfers between bodies are called thermal transfers and play an essential role in thermodynamics. They reach equilibrium when the temperature of the bodies in contact is equal.

## Slide 20
Thermal energy is the manifestation of energy in the form of heat. In all materials the atoms that form the molecules are in constant motion or vibration. This change implies that atoms have a certain kinetic energy which we call heat or thermal energy.

## Slide 21
1.2.3. Chemical energy:
When two atoms come together to form a molecule, the chemical bond created stabilises the system: this results in the release of energy, usually in the form of heat. Conversely, to break the bond that unites two atoms in a molecule, it is necessary to supply energy to this molecule.
Any chemical reaction has an energy balance that depends on the extent of broken and formed bonds in the process. A process that releases overall energy is called exothermic while the one that consumes it is called endothermic.

## Slide 22
1.2.4. Radiant or luminous energy:
This is the energy carried by radiation. Light energy is one, as well as infrared radiation.
Radiation carries energy, even through a vacuum.

## Slide 23
1.2.5. Nuclear energy:
Nuclear energy is the energy stored in the core of atoms, specifically in the bonds between the particles (protons and neutrons) that make up their nucleus. By transforming atomic nuclei, nuclear reactions are accompanied by the release of heat. In nuclear power plants, fission reactions are carried out on uranium cores and part of the heat produced is converted into electricity.

## Slide 24
1.2.6. Electrical energy:
Electrical energy is the energy supplied in the form of electric current to a heating system, an electrotechnical system, an electronic system or a motor. Electricity can be used directly to carry out work: moving a load, providing light, heating, etc.

## Slide 25: Energy management:
Proper and environmentally sound management of resources, combined with reduced environmental impacts, can promote economic development. Renovation or construction projects provide multiple opportunities for energy saving measures. In the case of renovation projects, the larger and more complex the planned work, the greater the opportunities to improve energy efficiency. For construction projects, the range of possible energy saving measures is very wide.

## Slide 26
Facility managers should look beyond the immediate scope of the project to find opportunities to reduce their energy use. When an energy-saving measure is implemented, the goal should be to maximize and maintain the expected savings throughout the project and beyond. Planned energy savings often fail due to poor operation and maintenance practices.

## Slide 27
For example, energy-efficient products installed as part of renovations are sometimes replaced by less efficient products when they reach the end of their useful life. One way to avoid this problem is by having an energy management plan with guidelines to ensure that energy conservation is carried out on a continuous basis. A long-term energy management plan helps facility managers identify energy saving measures, include them in their planning and integrate energy efficiency into the day-to-day operations of the organization. Bundling energy efficiency projects to maximize their profitability is one element of an effective energy management plan.

## Slide 28
Three ingredients are essential for the effective management of energy-efficient project elements.
On-site management team:
Implementing energy saving measures is a complex process involving many activities. The existence of a competent management team responsible for energy saving measures is essential to the success of the project. The team should meet early in the project and establish a schedule of frequent meetings to review progress. The team should also include experts in technical and other areas to reflect administrative and operational perspectives.

## Slide 29
b. Experts' assessment:
When integrating energy reduction into a project, a large number of technical experts are required as different skills may be required at different stages. Energy-saving measures may include improving the building envelope to reduce heat transmission through air infiltration, with the result that ambient air pollutants are trapped indoors and harm the health and well-being of occupants. Great care should be taken throughout a project to prevent this type of situation from occurring.

## Slide 30
Depending on the size and complexity of the project, a facility manager may need to turn to external resources specialized in: études de la consommation d'énergie;
cost analysis and economic analysis;
Architectural design and systems design;
technical aspects;
indoor air quality analysis;
construction methods;
commissioning;
staff training;
maintenance and monitoring;
coordination of activities.

## Slide 31
c. Energy efficient contracting :
Energy-efficient service companies are private companies that provide energy-efficient services. These companies provide technical expertise during the planning and implementation of a project and can also help manage financial aspects and minimize risks. Energy efficient contracting is a way to introduce energy efficiency measures into projects and reduce operating costs through minimal initial investment. Energy-efficient service companies offer a full range of skills and capital to implement the project. Payments are based solely on energy savings from building improvements. Most of the technical, financial and maintenance risks are the responsibility of the energy service provider.

## Slide 32
No matter how important the involvement of energy services professionals in the project is, facility managers need to be aware of energy efficiency principles and solutions. These concepts will be central to the development and implementation of a long-term energy management plan.

## Slide 33: 3. Integration of energy saving measures :
Here is a step-by-step guide that could be used to implement energy saving measures. The timeline and scope of defined steps may vary by project.
Definition of project scope:
Understanding the objectives and budget of the project will help determine whether or not the project appears to offer opportunities for incorporating energy saving measures. Acceptable cost recovery periods and project timelines should also be established.

## Slide 34
Research:
This stage includes a preliminary assessment of the financial benefits to be incorporated into the energy efficiency systems and energy saving measures project. At the design stage, approximately how much energy can actually be saved and the costs of implementing these measures should be assessed. In the case of an existing facility, a review of records and a consumption survey will provide valid baseline data. The project team will be able to gain insight into current energy costs and define an energy consumption model. The study of consumption will also identify high energy consuming sectors and potential energy saving sectors. Technical studies should provide estimates of energy costs and consumption patterns for construction projects.

## Slide 35
Study of consumption:
It identifies the precise energy consumption pattern and indicates where in the building the proposed upgrades will modify these patterns and the most cost-effective savings measures. A comprehensive study will address aspects of energy conservation, energy efficiency and energy savings. For example, if occupants leave lighting fixtures on at the end of the day, The study could recommend that upgrades include the installation of presence sensors and automatic lighting controls that turn off fixtures when rooms are unoccupied.

## Slide 36
Study of consumption:
It identifies the precise energy consumption pattern and indicates where in the building the proposed upgrades will modify these patterns and the most cost-effective savings measures. A comprehensive study will address aspects of energy conservation, energy efficiency and energy savings. For example, if occupants leave lighting fixtures on at the end of the day, The study could recommend that upgrades include the installation of presence sensors and automatic lighting controls that turn off fixtures when rooms are unoccupied.

## Slide 37: 4. System monitoring:
Management should regularly review monitoring data. The results should be compared to the expected energy savings and used to track and update consumption reduction targets. A regular monitoring program allows management to know if the expected energy savings can be achieved. It allows for close monitoring of energy consumption and continuous evaluation of savings measures.

## Slide 38
Monitoring can be a simple or complex activity. Reduced to its simplest expression, it means reviewing electricity bills, but this exercise provides only financial information and can be quite disappointing given the continued increase in costs. To a more complex degree, it means measuring the energy consumption of a particular building or equipment. Although there are costs associated with these calculations, the information obtained is much more accurate and useful for assessing the effectiveness of an energy-saving program.