## Slide 1
Magnetique resonance imagering
Created bay :
Iles Amel
بسم الله الرحمن الرحيم

## Slide 2: Chapter 2
Spin Physics

## Slide 3: Introduction
The nucleus (noyau) reacts when immersed in a magnetic field created by a magnet.
For some atomic nuclei (noyaux), such as carbon or oxygen, nothing changes.
Carbon: 6 protons and 6 neutrons
Oxygen: 8 protons and 8 neutrons

## Slide 4
Other nuclei,
such as the hydrogen atom: It reacts to radiofrequency waves.
An odd number of particles.
Hydrogen atom

## Slide 5
(a) atomic nucleus, (b) Nuclear spin
The nucleus is the central core of an atom and is made up of protons and neutrons. Atomic nuclei spin on themselves; this causes a microscopic magnetization 𝜇 ⃑ which is called spin.
The Nuclear Spin is different from the electron spin. it acts as if it is a single entity which has intrinsic angular momentum. It is represented by symbol, I.
Nuclei and spins
In the atom , where Z is the atomic number and A is the atomic mass number. The nuclear spin depends on the mass number, if the mass number is odd then the nucleus has half-integer spin (1/2I) like the electron while if the nucleus has even mass number then its spin will be integer spin (I).

## Slide 6
Only nuclei with spin quantum number 𝐼 ≠ 0 can emit or absorb electromagnetic waves. Atomic nuclei with an odd number of protons, neutrons or both will have an intrinsic nuclear spin.
The figure shows the example of the helium atom, made up of two protons and two neutrons. It is electrically neutral.
Electron spin (2 electrons: 1/2 +1/2) = 1,
proton spin (2 protons: 1/2 +1/2) = 1
and neutron spin (2 neutrons: 1/2 +1/2)=1.
Nuclear spin=2
The deterium atom: Nuclear spin=1
= 1 proton and 1 neutron so I=1

## Slide 7: Nuclear Spin States
The nuclear spin states can take any number, fraction or integer. The number is dependent on the three points:
If both the neutrons and the protons in the nucleus are even in number then the nucleus has NO spin states (aucun état de spin).
Examples : , , …
2. If the sum of the neutrons and protons in the nucleus is odd then the nucleus has half integer spin (1/2, 3/2, 5/2, …). , l is the nuclear spin quantum number
Examples: 1H, 13C, 31P, 19F, 15N, 17O...
3. If both the neutrons and the protons in the nucleus are odd in number then the nucleus has an integer spin states (1, 2, 3, …). I=2I+1
Examples: (I=1), (I=1),…
In other words the nucleus with odd number of protons or neutron or both should have the nuclear spin while if both are even then there is no nuclear spin.

## Slide 8
Magnetic quantum number represents spin of the nucleus which has 1 or ½ values as follows:
a) I =1, for nuclei with even mass number
b) I =0, for equal number of neutrons and protons due to the tendency of both these nuclear entity to form pairs in such a way that the individual spin cancel out. Therefore, 12C and 16O have zero spin and do not produce NMR signals.
c) I= 1/2 for nuclei with odd mass numbers. Nuclei of half spin, such as 1H, 13C and 31P are particularly important in NMR, as these are the nuclei that tend to have the most appropriate NMR characteristics. Some NMR active nuclei and their properties are listed in Table.

## Slide 10: Nuclear Spin Table
The nuclear spin of the various element of the periodic table is shown below. The color code and their corresponding allowed nuclear spin is shown in the figure. There are certain elements for which the value of I is unknown.

## Slide 11: Nuclear Spin Angular Momentum
Angular quantum number (m) may have any of the 2I+1 values, and thus for a nucleus of spin 1/2, m can be +1/2 or -1/2. The two spins are shown in Figure.
The allowed orientations of the angular momentum vector of a nucleus of spin 1/2 which is specified by the quantum number (m =1/2 and -1/2) and describe two cones.
Spin magnetic quantum numbers ms = -1/2, 1/2 (which are also known as spin down and spin up).

## Slide 12: Nuclear Spin Quantum Number
The nuclear spin quantum number l, determines the allowed spin states of the nucleus and it is represented by; Allowed:
Spin States = 2l+1,
In the case of hydrogen, l= 1/2 and hence the allowed spin states of the nucleus is 2.
Similarly if the value of l of an element is known we can find the allowed states of the nucleus of that atom.
In the absence of an external magnetic field, these orientations are of equal energy. If a magnetic field is applied, then the energy levels split. Each level is given a magnetic quantum number, m.
spin magnetic quantum numbers ms = -1/2, 1/2 (which are also known as spin down and spin up).

## Slide 13
Since the nuclei bear (portent) electrical charge, their spinning produces a magnetic moment (μ), expressing the strength and direction of the magnetic field surrounding the nucleus. The field produced by these magnetic dipoles is analogous to those of a microscopic bar magnets with a north pole and a south pole.
Magnetic Moment of Nucleus

## Slide 14: Magnetic Moment of Nucleus
The magnetic moment of the nucleus is closely related to its angular momentum and its direction is same as that of the angular momentum. The magnitude of μ is given by
Where is the Gyro-magnetic ratio (constant) of the nucleus. Each nuclear species has a different value of , which is experimentally determined.
the nuclear magnetic moment obeys the same rules of quantization as angular momentum, the nuclear spin is given by
I (I + 1)
where is the Plank constant: .
The result of the magnitude of the nuclear magnetic moment is :

## Slide 15: Magnetic Moment of Nucleus
The net or bulk magnetization of the sample is given by M and is the sum of each individual magnetic vector, or
since these magnetic moments are vectors and are randomly aligned, the bulk magnetization arising from the nucleus is zero. There may be unpaired electrons which give rise to paramagnetic, anti ferromagnetic, or ferromagnetic properties. However, if an external magnetic field is applied, the nuclei will align either with or against the field and result in a non-zero bulk magnetization.

## Slide 16
Nuclei in a Static Magnetic Field B0

## Slide 17: Nuclei in a Static Magnetic Field B0
B = Bo two possible spin states.
The magnetisation vector is not zero. where n is the spin number.
The important consequence of nuclear spin is the energy splitting of degenerate Nuclear Spin states under an external magnetic field. It is possible to drive transition between different spin states by applying radio-frequency electromagnetic radiation.
In the absence of magnetic field (Bo) these spins are randomly oriented with respect to each other; however when subjected to a magnetic field (Bo) the spins align themselves with and against the direction of Bo corresponding to high and low energy spin states

## Slide 18: Nuclear Energy Levels in a Magnetic Field
In the use of an external magnetic field:
Initially, the nucleus is in the nuclear ground state which is degenerate. The degeneracy of the ground state is 2I+1. The application of a magnetic field splits the degenerate 2I+1 nuclear energy levels. The energy of a particular level is
Where B0 is the external magnetic field.
Along the z-direction, which we assume the magnetic field is applied,
by substitution,

## Slide 19: Nuclear Energy Levels in a Magnetic Field
A proton with I = 1/2, has two possible orientations either parallel or anti-parallel with B0, which correspond to low and high energy states.
The green spheres represent atomic nuclei which are either aligned with (low energy) or against (high energy) the magnetic field.

## Slide 20: Nuclear Energy Levels
As mentioned above, an exact quanta of energy must be used to induce the spin flip or transition.
For any m, there are 2m+1 energy levels. For a spin 1/2 nucleus, there are only two energy levels, the low energy level occupied by the spins which aligned with B0 and the high energy level occupied by spins aligned against (contre) B0. Each energy level is given by
where m is the magnetic quantum number, in this case +/- 1/2. The energy difference ∆E, between the two states is proportional to the strength of B0 and is given by:
Where is Planks constant.
The splitting of the degenerate energy level due to the presence of a magnetic field in known as Zeeman Splitting

## Slide 21
Energy Levels Diagram

## Slide 22: Energy Level Spin Distribution
Application of an external magnetic field creates distinct energy levels based on the spin angular momentum of the nucleus. Each energy level is populated by the spins which have the same angular momentum. To illustrate this, consider a I=1/2 system. There are two energy levels, +1/2 and -1/2, which are populated by spins that have aligned against or with the external magnetic field, respectively.
The energy separation between these states is relatively small and the energy from thermal collisions is sufficient to place many nuclei into higher energy spin states. The number of nuclei in each spin state can be described by the Boltzmann distribution. The Boltzmann equation expresses the relationship between temperature and the related energy as shown below.
Spins configurations according to applied magnetic field
Where Nupper and Nlower represent the population of nuclei in upper and lower energy states.

## Slide 23: Boltzmann statistic
At room temperature, the number of spins in the lower energy state, N+, slightly outnumbers (légèrement plus nombreux que) the number in the higher energy state, N-. So according to the Boltzmann equation:
Where
E = Energy difference between the spin states,
K=1.3805x10-23 J/Kelvin (Boltzmann's constant),
T= Temperature in Kelvin
The resultant nuclear magnetism is proportional to the applied magnetic field.
In the presence of magnetic field (Bo), the energy and the population difference increase with the applied field Bo.

## Slide 24
The nuclear magnetic moment may be positive or negative, depending on if the nucleus precesses clockwise or counterclockwise, respectively. The nuclear magnetic moment will couple to the external magnetic field, which produces a torque on the nucleus and causes the precession around the magnetic field.
When placed in a magnetic field, charged particles will precess about the magnetic field. The charged nucleus, will then exhibit precessional motion at a characteristic frequency known as the Larmor Frequency. The Larmor frequency is specific to each nucleus. The Larmor frequency dependent on the magnetic field:
Larmor Precession
The angular frequency of precession, is the Larmor frequency and is given by and has units of radians per second.

## Slide 25
The larmor frequency depends on the gyromagnetic ratio and the strength of the magnetic field i.e. it is different for each isotope. For a 1.5 T system, the Larmor frequency is 63.86 MHz. The Larmor frequency for protons is 21 MHz at 0.5 T and 127 MHz at 3 T.

## Slide 26
provided to describe the alignment of protons (specifically, hydrogen nuclei) in a 0.5T magnetic field
Subjected to a magnetic field B0
Total Proton Count: There are 1 million + 2 (or 1,000,002) protons in this scenario.
Magnetic Field Strength: The protons are subjected to a magnetic field with a strength of 0.5 Tesla (0.5T). The strength of the magnetic field determines how the protons behave.
Proton Alignment:
  Parallel Alignment: In this scenario, 500,002 protons are aligned in a direction parallel to the magnetic field. When protons align parallel to the magnetic field, they are in a lower energy state.
  Antiparallel Alignment: On the other hand, 500,000 protons are aligned in a direction antiparallel (opposite) to the magnetic field. This alignment represents a higher energy state.

## Slide 27: Net Magnetisation Vector
Net Magnetisation Vector (NMV)
The Direction that the protons move to when aligned to the main magnetic field
Net sum of protons pointing in the direction of the magnetic field
Spin up – Spin down = NMV
Increase B0 = Increase NMV
The intensity or strength of the net magnetization is influenced by the number of protons present per unit volume within the sample. In other words, the more protons there are within a given volume, the stronger the net magnetization.

## Slide 28: Bulk Magnetisation
It is good practice to combine the effect of all the nuclei that are influenced by B0 rather than to explain the properties of each individual nucleus. The combined effect of all the nuclei that are in spin-up and spin-down states is known as bulk magnetisation (M).
In equilibrium the bulk magnetisation (M) has only a longitudinal component aligning along the B0 direction, and it does not produce an MR signal in the receiver coil. Application of additional radio frequency (RF) field at the resonant frequency disturbs M from equilibrium, resulting in the production of MR signals. In a Cartesian system which is represented by x, y and z direction, the B0 is usually represented in the z direction.

## Slide 29: Nuclei in a Static Magnetic Field
  Classical Model
The magnetic moment μ associated with a spinning spherical charge will precess in an external magnetic field. In the following illustration, the spinning nucleus has been placed at the origin of a cartesian coordinate system, and the external field is oriented along the z-axis. The frequency of precession is proportional to the strength of the magnetic field:
ωo = γBo

## Slide 30: Nuclei in a Static Magnetic Field
The diagram illustrates the macroscopic magnetization of a sample containing large numbers of spin 1/2 nuclei at equilibrium in a strong external magnetic field (Bo). A slight excess of +1/2 spin states precess randomly in alignment with the external field and a smaller population of _1/2 spin states precess randomly in an opposite alignment. An overall net magnetization therefore lies along the z-axis.
Summation over all spins leads to a magnetization vector M0 that is parallel to the static magnet field B0, since more spins are moving on the lower level cone (blue in Fig) in the equilibrium situation.
M0 can now be manipulated using an RF excitation pulse.

## Slide 31: Nuclei in a Static Magnetic Field
If rf energy having a frequency matching the Larmor frequency is introduced at a right angle to the external field (e.g. along the x-axis), the precessing nucleus will absorb energy and the magnetic moment will flip to its I = _1/2 state.

## Slide 32: Nuclei in a Static Magnetic Field
  Classical Model
The precessing magnetic moments of nucleus create a macroscopic net magnetization Mnet a vector quantity having longitudinal and transverse components that is ultimately responsible for the induction of NMR signal
However, direct measurement of the magnetization vector is impossible because it is infinitely small compared to 𝐵₀. To measure it, it must be tipped into another plane in the x-y space using a second radiofrequency magnetic field called 𝐵₁. The 𝐵₁ field enables the transition of spins between the low and high energy states.

## Slide 33: Flip (or Tip) Angle
Flip angle, also called tip angle, is the amount of rotation the net magnetization (M) experiences during application of a radiofrequency (RF) pulse. It is often designated by the Greek letter alpha (α) and can be measured in degrees (°) or radians (R). For conversion 360° = 2π radians.
For a strong and rectangular RF-pulse of constant amplitude (B1) and duration (tp), the resultant flip angle (α) is approximately:
If γ is expressed in MHz/T, then multiplying the above result by 360°/cycle will give α in degrees.

## Slide 34
The magnetic moment can flip to 90°.
The simple case of a 90° excitation pulse
At resonance, during and after excitation the magnetization vector moves in a complicated way which can be simplified by using the following trick:
referencing to the resonance frequency
Which is identical to a rotation of the coordinate system about the z-axis with frequency ʋ0 leads to a simple rotation of the magnetization vector about the RF pulse (x-) axis onto the detector (y-) axis during excitation.

## Slide 35: simple case of a 90° excitation pulse
the system viewed in rotating frame where the frame rotation matches the Larmor frequency. That is, the frame is rotating exactly at the same rate as B1, the individual spins, and M.

## Slide 36
The rotation angle depends on the length of time the field is on, and its magnitude B 1 .
θ = 2π ζ . B 1.
In our examples, ζ will be assumed to be much smaller than T 1 and T 2.
A 90 o pulse is one which rotates the magnetization vector clockwise by 90 degrees about the X' axis. A 90 o pulse rotates the equilibrium magnetization down to the Y' axis.

## Slide 37: simple case of a 90° excitation pulse
Trajectory of an RF pulse excitation with a flip angle of 90◦
a) In the laboratory frame, the net magnetization M0 = Mz precesses on a spiral trajectory into the x-y plane resulting in a transverse component of the magnetization Mxy precessing at the Larmor frequency.
b) In the rotating frame, the magnetization is tipped into the x’-y’ plane.

## Slide 39
The simple case of a 180° excitation pulse

## Slide 40
  Quantum model

## Slide 42: Energy Transitions (Spin Flip)
In order for the NMR experiment to work, a spin flip between the energy levels must occur. The energy difference between the two states corresponds to the energy of the electromagnetic radiation that causes the nuclei to change their energy levels. The energy of a photon is represented by
E=hν and ν=γB02π

## Slide 43
By applying an RF (radiofrequency) pulse B1, this causes the transition of parallel spins and the rephasing of protons, resulting in an equal number of parallel and antiparallel spins. Resulting in population equalization across the two energy levels, and longitudinal magnetization cancels out

## Slide 44: 180°

## Slide 45: Problems
EX01: Many magnetic resonance imagers operate at a magnetic field strength of 1.5 Tesla. A few machine operate at 4.7 Tesla. What is the resonance frequency of the following nuclei in each of the magnetic fields: 1H, 23Na 31P?
EX02: What is the energy of the photon that will be absorbed by a 1 H nucleus in a 1.5 Tesla magnetic field?
How does this compare in energy to a 2x10 19 Hz x-ray photon?
What is the ionization potential for a typical organic molecule? Quel est le potentiel d'ionisation d'une molécule organique typique?
Which of the two photons will ionize the molecule?

## Slide 46: Problems
EX03: A sample has a T 1 of 1.0 seconds. If the net magnetization is set equal to zero, how long will it take for the net magnetization to recover to 98% of its equilibrium value?
EX04: A sample has a T 2 of 100 ms. How long will it take for any transverse magnetization to decay to 37% of its starting value?
Ex05:A hydrogen sample is at equilibrium in a 1.5 Tesla magnetic field. A constant B 1 field of 1.17x10 -4 Tesla is applied along the +x'-axis for 50 microseconds. What is the direction of the net magnetization vector after the B 1 field is turned off?

## Slide 47: solution
EX01:
υ = γBo
where:
υ = resonance frequency, γ = gymagnetic ratio for the nuclei in question and B o = magnetic field strength.

## Slide 48: EX02
Given: B o =1.5T o and g = 42.58 MHz/T
The energy absorbed by a 1 H nucleus is: E H = h n that means E H = h g B o E H = 6.626x10 -34 Js * 42.58x10 6 Hz/T * 1.5 T H
E H = 4.23x10 -26 J H E = 4.23x10 -26 J
The energy of a n =2x10 19 Hz X-ray photon is: E X = h n E X = 6.626 x 10 -34 Js * 2x10 19 Hz = 1.33x10 -14 J
How the two energies compare?
E X / E H = 1.33 x 10 -14 J / 4.23 x 10 -26 J = 3.14 x 10 11 The energy of the X-ray photon is 10 11 times more than the 1 H photon energy.
Based on the figure in the text, the ionization potential for an organic compound is approximately 6x10 -19 J. Therefore only the x-ray photon can ionize the molecule.

## Slide 49: EX03
Given: T 1 = 1.0s
The relationship between the equilibrium net magnetization, M o , and the net magnetization, M z ( t ), at time t is:
M z ( t ) = M o (1 - e - t /T1 ).
When M z ( t ) / M 0 = 98%:
0.98 = M z ( t ) / M 0 = (1 - e - t /T1 )
0.98 = 1 - e - t /T1
1 - 0.98 = e - t /T1
ln( 0.02 ) = - t /T1
-T 1 * ln( 0,02 ) = t
-1.0s * ln( 0,02 ) = 3.9s = t

## Slide 50: EX04
Given: T 2 = 100ms.
The relationship between the initial transverse magnetization (M xyo ) and the transverse magnetization at any time t , M xy ( t ), is: M xy ( t ) = M xyo e - t /T2
When the transverse magnetization (M xy ) has decayed to 37% of its starting value:
0.37 = M xy ( t ) / M xy0 = e - t /T2
0.37 = e - t /T2
ln( 0.37 ) = - t /T2
-T 2 * ln( 0.37 ) = t
-100ms * ln( 0.37 ) = 99.4ms = t

## Slide 51: EX05
Given: B 1 = 1.17x10 -4 T, and t = 50x10 -6 s, B 1 is applied along the +x' axis.
The relationship between the rotation angle in radians ( q )and the length, in seconds, that the B 1 field is applied ( t )is:
q = 2 p t B 1 g
where: g = gymagnetic ratio for the nuclei in question.
q = 2 p t B 1 g
q = 2 p * 50x10 -6 s * 1.17x10 -4 T * 42.58MHz/T
q = 1.565 rad.
q = 1.565 rad. * 180 o / p rad = 89.673 o
The net magnetization vector will be almost along the +y' axis: 89.673 o from the +z axis after the clockwise about the +x' axis.