Correction of exam

ABOUBEKR BELKAID UNIVERSITY

FACULTY OF TECHNOLOGY

DEPARTMENT OF HYDRAULIC

First exam of Matter “Introduction of Hydraulic Computational”

Exercise N°1 ( 4pt)

To analyse the simple distribution network shown below by Epanet, what the input data to be entered for the Network Objects mentioned in the figure below? (Use words, not symbols or abbreviations)

1: Hydraulic head

( water surface elevation)

2: Initial quality for water

1: Elevation above some reference

2: Water demand

3: Initial water quality

1 : Bottom elevation

2 : Diameter

3 : Initial, minimum and maximum water levels.

4: Initial water quality

Exercise N°2 (4pt)

To analyse the drainage network shown below by SWMM, what the input data to be entered for the Network Objects mentioned in the figure below? (Use words, not symbols or abbreviations)

- Names of the inlet and outlet nodes;

- Offset height or elevation above the inlet and outlet node inverts;

- Length;

- Manning's roughness coefficient (n);

- Cross-sectional geometry

- Rainfall data type (intensity, volume);

- Recording time interval (e.g., hourly, 15-minute, etc.);

- Source of rainfall data (input time series or external file);

- Name of rainfall data source

- invert elevation;

- height to ground surface

QCM questions (Cross out one box)

- Surface drainage systems are usually used :

In flat land and nearly steep land

In land with high rainfall intensity    (0,5 pt)

- The soil has become waterlogged if

The water table reaches the root zone    (0,5 pt)

The pools may form on the soil surface

- The dimensions of the open drains can be determined by using:

Bernoulli equation

Manning equation     (0,5 pt)

- Hooghoudt used the equivalent depth ‘de’ to transform

The horizontal and radial flow into an equivalent horizontal flow   (0,5 pt)

The radial flow into an equivalent horizontal flow

- The collectors used in subsurface drainage have a constant diameter

True

False  (0,5 pt)

- The celerity equation of the negative wave moved downstream is:

Cth=U1-3gh+2gh1

Cth=U1+3gh-2gh1      (0,5 pt)

- The combined sewer system is the system in which:

The sewers carry both sanitary and storm water  (0,5 pt)

One pipe carries storm water and second pipe carries sanitary water

- Pipes in parallel have:

Same head losses    (0,5 pt)

Same flow discharge

- Branched Networks is

Commonly used in rural water supply   (0,5 pt)

Commonly used in urban water supply

- A small dam stores 9 m of water in the reservoir created by it. If a wide section of the dam collapse instantaneously, using the ideal dam break solution:

- The velocity at the axis of the dam is

7.26 m/s                         5.26     m/s                    6. 26  m/s  (0,5 pt)

- The depth of flow at the axis of the dam is

4.12 m                             4 m     (0,5 pt)                  5.13 m

- The equation of surface profile 2 second after the dam break is

xh=-37,58+18,79h       xh=-37,58+19,79h       xh=37,58-18,79h  (1pt)

- By using the equation of surface profile, fills the below table (1,5 pt)

| x (m) | 37,58 | 5.03 | 0 | -8.44 | -18.79 |
| --- | --- | --- | --- | --- | --- |
| h (m) | 0 | 3 | 4 | 6 | 9 |